## Register2026
WO No | Date | Equipment | Work Done | Remarks
WO-201 | 2026-01-15 | FD-2 | Bearing lubrication | EP-2 grease, both bearings
WO-207 | 2026-02-02 | FD-2 | Belt tension adjusted | Slight squeal reported on start
WO-214 | 2026-02-27 | FD-2 | Bearing lubrication | Done at ~500 run-hours per SOP-BH-04
WO-215 | 2026-03-01 | B-3 | Gauge glass replaced | Cracked glass from inspection report
WO-222 | 2026-03-18 | E-4 | Heat exchanger cleaned | Cooling water side fouling removed
WO-228 | 2026-04-06 | FD-2 | Bearing temperature check | DE bearing 71°C at full load — watch